VPX 3U AC Power Supplies

Hartmann’s VPX Power Supplies are bilt for the most rugged applications with quality and reliability in mind. These 3U AC supplies boast a 600W air-cooled design with an internal fan and up to 88% efficiency. Talk to a Hartmann representative today about compliance and your power needs.

Product Table:

| Features |  |
| --- | --- |
| Size | 3U/ 10HP |
| Input Voltage | 85-264 VAC, 47-63 Hz |
| Output Voltages | +12V [VS1], +3.3V [VS2], +5V [VS3], +3.3V_AUX, +12V_AUX, -12V_AUX |
| Type | VPX power supply Ruggedized, air cooled design with keys Front panel with extraction handles |
| Order number | Description |
| D575.00646 | 600W air cooled VPX power supply, Input: 85-264 VAC, 6A/20A (normal/max inrush current) 6 DC Outputs: 12V/28A, 3.3V/19A, 5V/25A, 12V_AUX/1A, -12V_AUX/1A, 3.3V_AUX/6A Efﬁciency up to 88% Air cooled with internal DC fan Operation temperature -40°C … 85°C |